## Slide 1: Cross-Validation of Orbital Velocities from Doppler-Radar and Directional Waverider Buoy
Jörg Seemann, Ruben Carrasco, Michael Stresser, Jochen Horstmann

## Slide 2: Motivation
It was observed that the Power weighted Frequency of the Radar Retrieved Surface Elevation Spectra is shifted to lower Frequecies compared to Buoy Spectra.
Correction of the Radar Frequency Spectra with an empirical Power Law improves the Accuracy of Hs Estimation.
In this Study Doppler Velocity Frequency Spectra are compared with Buoy Horizontal Velocity Spectra

## Slide 3: Overview
Compare Spectral Features instead of assuming a Power Law Transfer Function
Analysis of the Grazing Angle Dependencies

## Slide 4: Radar Data Processing
Antenna pointing in Peak Wave Direction (not always!)
Dispersion Filtering of the Velocity Spectrum in the 2D Wavenumber-Frequency Domain
Bandpass Selection ([0.3 1.4] rad/s) because of Radar Limitations

## Slide 5: Use of Linear Wave Theory
Linear Dispersion Relation is used as a Signal Filter (Selection of Fundamental Mode)
Velocity Spectra NOT transformed to Surface Elevation Spectra (using Linear Wave Theory)

## Slide 6: Buoy Data Processing
Acquisition of 3D Orbital Path
Calc. of Orbital Velocity Vectors from Horizontal Positions
Projection in Radar Antenna Viewing Direction
Bandpass Selection ([0.3 1.4] rad/s) because of Consistancy with Radar Data

## Slide 7: Velocity Spectral Parameters
Significant Velocity = 4() d
Mean Frequency =
Peakedness Factor (Goda) =2

## Slide 8: Radar related Parameters
Range <-> Grazing Angle
Mean Confidence
Projection Power Loss (Spreading relative to Antenna Viewing Direction
P=

## Slide 9: Wave and Wind related Parameters
Hs (from Time Series)
Wave Steepness
(Hs and Wave Steepness are strongly correlated for our Data set, dominated by Wind Sea)
USTAR

## Slide 10: Data Cleaning
Range-Dependent Confidence Threshold

## Slide 11: Confidence Dependency on USTAR

## Slide 12: Significant Velocity Ratio Dependency on Grazing Angle

## Slide 13: Significant Velocity Ratio Dependency on Grazing Angle
Near-Range:
BIAS: -0.0071
RMSE: 0.115
(larger sample)

## Slide 14: Significant Velocity Ratio Dependency on Grazing Angle
Near-Range:
BIAS: -0.0071
RMSE: 0.115
(larger sample)

## Slide 15: Frequency Shift Dependency on Grazing Angle

## Slide 16: Frequency Shift Dependency on Grazing Angle
Near-Range:
BIAS: -0.0167 rad/s
RMSE: 0.0301 rad/s
(larger sample)

## Slide 17: Frequency Shift Dependency on Grazing Angle
Near-Range:
BIAS: -0.0167 rad/s
RMSE: 0.0301 rad/s
(larger sample)

## Slide 18: Peakedness Factor Shift Dependency on Grazing Angle

## Slide 19: Peakedness Factor Shift Dependency on Grazing Angle
Near-Range:
BIAS: -1.6964
RMSE: 2.3261
(larger sample)

## Slide 20: Peakedness Factor Shift Dependency on Grazing Angle
Near-Range:
BIAS: -1.6964
RMSE: 2.3261
(larger sample)

## Slide 21: Correlation Analysis: Feature Vectors
f1 = Significant Velocity Ratio
f2 = Mean Frequency Shift
f3 = Peakedness Parameter Shift
f4 = Mean Confidence
f5 = Projection Power Loss Factor
f6 = Hs
f7 = Wave Steepness
f8 = USTAR

## Slide 22: Near –Range Correlations
Significant Velocity Ratio 1
Mean Frequency Shift 2
Peakedness Parameter Shift 3
Mean Confidence 4
Projection Power Loss Factor 5
Hs 6
Wave Steepness 7
USTAR 8
1
2
3
8
7
5
4
6
Deviations of Spectral Parameters between Radar
and Buoy depend on the Sea State (Hs, Wave Ange,
and Directional Spread), but the Correlations are
weak

## Slide 23: Summary
Limitations under Grazing Incidence Conditions (Grazing Angle < 2-3 deg.)
In the Near-Range the total Power of the Radar and Buoy Velocity Spectra are the same.
There is a negative Frequency Shift of the Radar relative to the Buoy Velocity Spectrum
The Radar Spectra are broader than the Buoy Spectra
These Deviations can be corrected in the Near-Range